## Sheet1
Category | Tag | Maintenance | Frequency | Notes | Last Date | Satus | Next | status | next 1 | next 2
Fire Safety | Fire 01 | Fire Alarm Test Log | Weekly | Log weekly test (sounder checks). Required under BS 5839 | 16/07 | ok | 23/7
|  | Fire Alarm Service Certificate | Every 6 months | Formal testing & maintenance by certified contractor. | 2026-02-03 | ok | 2026-02-09
|  | Fire Risk Assessment | Annually | Reviewed annually, fully redone every 3-5 years.
|  | Emergency Lighting Test Log | Monthly (Flick Test), Annually (Duration Test) | Log monthly and keep record; full 3-hour test yearly.
|  | Fire Extinguisher Service Certificate | Annually | Serviced by competent person; tagged and dated.
|  | Dry/Wet Riser Test Report | Annually | Tested by fire brigade or specialist if present.
|  | Fire Door Inspection | Every 3-6 months | Includes communal doors and flat entrance doors.
Asbestos |  | Asbestos Management Survey | Reviewed annually | For buildings built before 2000.
|  | Asbestos Reinspection Report | Every 6-12 months | Check known ACMs for damage or degredation
Electrical & Gas |  | EICR (Electrical Installation Condition Report) | Every 5 years | Mandatory for rentals; check whole installation.
|  | Portable Appliance Testing (PAT) | Annually | For communal or landlord-provided equipment.
|  | Gas Safety Certicifate (CP12) | Annually | Legal requirement for rentals with gas appliances.
Water Hygiene |  | Legionella Risk Assessment | Every 2 years | Especially for shared tanks or systems.
|  | Water Temperature Checks | Monthly | Check sentinel taps for Legionella risk.
|  | Tank Inspection & Cleaning Reports | Annually | Visual and bacterial inspection if tank present.
Other |  | Lift Service and Inspection Certificate | Every 6 months | Passenger lifts under LOLER regulations.
|  | Insurance Inspection Lift | Annually | E.g., gates, lifts, boilers under engineering cover.
|  | Pest Control | Every 3 months
|  | Windows Cleaner | Every 8 weeks
|  | Drain Service | Every 3 months
|  | Lift Landline check | Every month
|  | Car Park Permit | Every year